## Table S6
Table S6. Supplemental Methods. LC-MS/MS and SAINT analysis parameters
Hardware
HPLC | Dionex Ultimate 3000 RSLC nano (Thermo Scientific)
Spectrometer | Orbitrap Fusion Lumos (Thermo Scientific)
Source | “Flex” Nanospray (Thermo Scientific)
Software | Xcalibur 4.0.27.10 (Thermo Scientific); Fusion Lumos 2.1 Build 1565 (Thermo Scientific); DCMSLink 2.14 Build 3818 (Thermo Scientific)
HPLC Conditions
Solvent A | 98% water with 0.1% formic acid, 2% acetonitrile with 0.1% formic acid
Solvent B | 98% acetonitrile with 0.1% formic acid, 2% water with 0.1% formic acid
Flow rate | 300 nanolitres per minute
Gradient | 5% - 36% B over 15 minutes
Precolumn | C18 PepMap100 (Thermo Scientific) 300 µm i.d. x 5mm
Column | C18 2µ, 100 Å Acclaim PepMap RSLC (Thermo Scientific) 75 µm i.d. x 15 cm
Tandem MS Conditions
Design | Data Dependent Acquisition of MS2 spectra from most abundant ions in MS
Dynamic Exclusion | 2 counts within 10 s triggers exclusion for 60 s
MS
Survey Scan | m/z 400-1500 at 120,000 resolution
Target AGC | 400000
Internal Calibration | Yes (Easy-IC)
MS2
Charge State | Required, +2 to +7
Isolation width | 1.6
Activation method | CID
NCE | 35
Q | 0.25
Max injection time | 35 ms
Other | Inject ions for all available parallelizable time: enabled
MaxQuant Parameters
Software Version | 1.6.7.0
Experiment Type | Standard
Multiplicity | 1
Digestion | Trypsin/P
Max. Missed | 2
Variable modifications | Protein N-term acetylation, oxidation of methionine
Fixed modifications | Carbamidomethylation of cysteine
Label-free quant (LFQ) | enabled
Reference proteome(s) | UniProt human (version 2019-09-17), contaminants
Max. Peptide Mass | 5000
PSM / Protein FDR | 0.01 / 0.01
Match between runs | Enabled
All other parameters left at default settings
SAINT Parameters
Software | CRAPome.org (now https://reprint-apms.org/)
Implementation | SAINTexpress
CRAPome controls | CC532
Number of virtual controls | 10
n-burn | 2000
n-iter | 4000
LowMode | 0
MinFold | 1
Normalize | 1
FC-B parameters | Combining replicates: Geometric; Number of virtual controls: 10