## DIGESTIF proteolysis in serum
|  | Technical replicate 1 | Technical replicate 2 | Technical replicate 3 | Mean of 3 technical replicates | Standard deviation | CV (%)
Digestion conditions |  | Peak area (best transition) | Peak area (best transition) | Peak area (best transition)
LFLQFGAQGSPFLK |  | LFLQFGAQGSPFLK (y10) | LFLQFGAQGSPFLK (y10) | LFLQFGAQGSPFLK (y10) | LFLQFGAQGSPFLK | LFLQFGAQGSPFLK | LFLQFGAQGSPFLK
Test 1 | Trypsin 1/20, 37°C, 5h | 32165 | 25522 | 27641 | 28442.6667 | 3393.2822 | 11.9303
Test 2 | Trypsin 1/100, 37°C, 5h | 34329 | 12761 | 11470 | 19520 | 12841.2044 | 65.7849
Test 3 | Trypsin 1/1000, 37°C, 5h | 2888 | 1648 | 793 | 1776.3333 | 1053.3795 | 59.3008
Test 4 | Trypsin 1/20, 30°C, 5h | 7085 | 7615 | 9065 | 7921.6667 | 1025.0041 | 12.9392
Test 5 | Trypsin 1/20, 23°C, 5h | 2498 | 5092 | 4066 | 3885.3333 | 1306.4032 | 33.624
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | 3083 | 2223 | 3279 | 2861.6667 | 561.7164 | 19.629
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | 1678608 | 1597717 | 1623954 | 1633426.3333 | 41269.0234 | 2.5265
Test 10 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | 273651 | 215286 | 107339 | 198758.6667 | 84378.8178 | 42.4529
VEATFGVDESNAK |  | VEATFGVDESNAK (y8) | VEATFGVDESNAK (y8) | VEATFGVDESNAK (y8) | VEATFGVDESNAK | VEATFGVDESNAK | VEATFGVDESNAK
Test 1 | Trypsin 1/20, 37°C, 5h | 643572 | 566308 | 498191 | 569357 | 72738.443 | 12.7755
Test 2 | Trypsin 1/100, 37°C, 5h | 151048 | 132198 | 103442 | 128896 | 23974.1572 | 18.5996
Test 3 | Trypsin 1/1000, 37°C, 5h | 11471 | 11921 | 5759 | 9717 | 3435.1052 | 35.3515
Test 4 | Trypsin 1/20, 30°C, 5h | 264443 | 252595 | 266408 | 261148.6667 | 7472.5642 | 2.8614
Test 5 | Trypsin 1/20, 23°C, 5h | 189086 | 286324 | 255849 | 243753 | 49734.717 | 20.4037
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | 3653 | 2048 | 2622 | 2774.3333 | 813.2714 | 29.3141
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | 1621079 | 1600799 | 1670715 | 1630864.3333 | 35970.4924 | 2.2056
Test 10 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | 490173 | 486809 | 691164 | 556048.6667 | 117025.3994 | 21.0459
YILAGVENSK |  | YILAGVENSK (y8) | YILAGVENSK (y8) | YILAGVENSK (y8) | YILAGVENSK | YILAGVENSK | YILAGVENSK
Test 1 | Trypsin 1/20, 37°C, 5h | 637632 | 477873 | 476427 | 530644 | 92657.1467 | 17.4613
Test 2 | Trypsin 1/100, 37°C, 5h | 172241 | 89093 | 77682 | 113005.3333 | 51615.8976 | 45.6756
Test 3 | Trypsin 1/1000, 37°C, 5h | 21231 | 19169 | 10833 | 17077.6667 | 5505.4389 | 32.2377
Test 4 | Trypsin 1/20, 30°C, 5h | 128361 | 121207 | 127521 | 125696.3333 | 3910.4968 | 3.1111
Test 5 | Trypsin 1/20, 23°C, 5h | 61960 | 76737 | 71453 | 70050 | 7487.7392 | 10.6891
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | 32664 | 19789 | 36940 | 29797.6667 | 8927.5473 | 29.9606
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | 3609550 | 3589204 | 3428436 | 3542396.6667 | 99215.7502 | 2.8008
Test 10 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | 1387432 | 1084815 | 1670596 | 1380947.6667 | 292944.3291 | 21.2133
GTFIIDPGGVIR |  | GTFIIDPGGVIR (y6) | GTFIIDPGGVIR (y6) | GTFIIDPGGVIR (y6) | GTFIIDPGGVIR | GTFIIDPGGVIR | GTFIIDPGGVIR
Test 1 | Trypsin 1/20, 37°C, 5h | 2415518 | 1732511 | 1722065 | 1956698 | 397384.1014 | 20.3089
Test 2 | Trypsin 1/100, 37°C, 5h | 257685 | 155418 | 132776 | 181959.6667 | 66550.0535 | 36.5741
Test 3 | Trypsin 1/1000, 37°C, 5h | 63337 | 69626 | 32784 | 55249 | 19707.7408 | 35.6708
Test 4 | Trypsin 1/20, 30°C, 5h | 413089 | 530571 | 560375 | 501345 | 77871.1163 | 15.5324
Test 5 | Trypsin 1/20, 23°C, 5h | 318456 | 560788 | 477195 | 452146.3333 | 123092.5519 | 27.2241
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | 37433 | 30085 | 42485 | 36667.6667 | 6235.3269 | 17.005
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | 11283738 | 11661037 | 12385478 | 11776751 | 559910.7556 | 4.7544
Test 14 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | 5941707 | 6471251 | 5672498 | 6028485.3333 | 406385.8365 | 6.7411
GAGSSEPVTGLDAK |  | GAGSSEPVTGLDAK (y8) | GAGSSEPVTGLDAK (y8) | GAGSSEPVTGLDAK (y8) | GAGSSEPVTGLDAK | GAGSSEPVTGLDAK | GAGSSEPVTGLDAK
Test 1 | Trypsin 1/20, 37°C, 5h | 1082646 | 714509 | 660546 | 819233.6667 | 229711.8725 | 28.0398
Test 2 | Trypsin 1/100, 37°C, 5h | 92856 | 15699 | 18622 | 42392.3333 | 43727.2481 | 103.149
Test 3 | Trypsin 1/1000, 37°C, 5h | 46524 | 40739 | 23704 | 36989 | 11863.1773 | 32.0722
Test 4 | Trypsin 1/20, 30°C, 5h | 156122 | 129265 | 128117 | 137834.6667 | 15847.6937 | 11.4976
Test 5 | Trypsin 1/20, 23°C, 5h | 104711 | 157067 | 140238 | 134005.3333 | 26728.6791 | 19.946
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | 38025 | 25603 | 42911 | 35513 | 8923.2463 | 25.1267
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | 4132228 | 4072611 | 4383264 | 4196034.3333 | 164862.8452 | 3.929
Test 10 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | 3182957 | 3456235 | 3667464 | 3435552 | 242914.796 | 7.0706
TPVISGGPYEYR |  | TPVISGGPYEYR (y8) | TPVISGGPYEYR (y8) | TPVISGGPYEYR (y8) | TPVISGGPYEYR | TPVISGGPYEYR | TPVISGGPYEYR
Test 1 | Trypsin 1/20, 37°C, 5h | ND | ND | ND
Test 2 | Trypsin 1/100, 37°C, 5h | 48256 | 6237 | 6257 | 20250 | 24253.9095 | 119.7724
Test 3 | Trypsin 1/1000, 37°C, 5h | 26014 | 29458 | 13132 | 22868 | 8605.67 | 37.6319
Test 4 | Trypsin 1/20, 30°C, 5h | 664 | 249 | 438 | 450.3333 | 207.7747 | 46.138
Test 5 | Trypsin 1/20, 23°C, 5h | 217 | 415 | 277 | 303 | 101.5283 | 33.5077
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | 3298 | 2944 | 3788 | 3343.3333 | 423.8223 | 12.6766
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | 1623102 | 1688528 | 1694478 | 1668702.6667 | 39603.235 | 2.3733
Test 10 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | 871570 | 956224 | 976988 | 934927.3333 | 55842.6333 | 5.9729
TPVITGAPYEYR |  | TPVITGAPYEYR (y8) | TPVITGAPYEYR (y8) | TPVITGAPYEYR (y8) | TPVITGAPYEYR | TPVITGAPYEYR | TPVITGAPYEYR
Test 1 | Trypsin 1/20, 37°C, 5h | 12613 | 8136 | 7854 | 9534.3333 | 2669.9293 | 28.0033
Test 2 | Trypsin 1/100, 37°C, 5h | 41463 | 6209 | 7146 | 18272.6667 | 20088.8816 | 109.9395
Test 3 | Trypsin 1/1000, 37°C, 5h | 35262 | 36625 | 19255 | 30380.6667 | 9659.1815 | 31.7938
Test 4 | Trypsin 1/20, 30°C, 5h | 1832 | 2134 | 1002 | 1656 | 586.1638 | 35.3964
Test 5 | Trypsin 1/20, 23°C, 5h | 2272 | 1366 | 1109 | 1582.3333 | 610.9356 | 38.6098
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | 2599 | 1610 | 2448 | 2219 | 532.7861 | 24.0102
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | 1514971 | 1559278 | 1665142 | 1579797 | 77159.603 | 4.8841
Test 10 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | 1340419 | 1188540 | 1630388 | 1386449 | 224491.6133 | 16.1918
LGGNEQVTR |  | LGGNEQVTR (y8) | LGGNEQVTR (y8) | LGGNEQVTR (y8) | LGGNEQVTR | LGGNEQVTR | LGGNEQVTR
Test 1 | Trypsin 1/20, 37°C, 5h | 6821 | 4152 | 3491 | 4821.3333 | 1763.0174 | 36.567
Test 2 | Trypsin 1/100, 37°C, 5h | 23279 | 5934 | 5760 | 11657.6667 | 10064.7459 | 86.3359
Test 3 | Trypsin 1/1000, 37°C, 5h | 18685 | 18200 | 10829 | 15904.6667 | 4402.3403 | 27.6796
Test 4 | Trypsin 1/20, 30°C, 5h | 956 | 1596 | 981 | 1177.6667 | 362.5029 | 30.7814
Test 5 | Trypsin 1/20, 23°C, 5h | 1254 | 540 | 353 | 715.6667 | 475.4938 | 66.4407
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | 18530 | 12214 | 22352 | 17698.6667 | 5119.8728 | 28.928
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | 803873 | 819176 | 686119 | 769722.6667 | 72806.0798 | 9.4587
Test 10 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | 90715 | 71881 | 56414 | 73003.3333 | 17178.0201 | 23.5305
DGLDAASYYAPVR |  | DGLDAASYYAPVR (y7) | DGLDAASYYAPVR (y7) | DGLDAASYYAPVR (y7) | DGLDAASYYAPVR | DGLDAASYYAPVR | DGLDAASYYAPVR
Test 1 | Trypsin 1/20, 37°C, 5h | 78983 | 53132 | 53933 | 62016 | 14699.3101 | 23.7024
Test 2 | Trypsin 1/100, 37°C, 5h | 262208 | 247101 | 215078 | 241462.3333 | 24065.6424 | 9.9666
Test 3 | Trypsin 1/1000, 37°C, 5h | 38086 | 31184 | 19058 | 29442.6667 | 9632.7762 | 32.7171
Test 4 | Trypsin 1/20, 30°C, 5h | ND | ND | ND | ND
Test 5 | Trypsin 1/20, 23°C, 5h | ND | ND | ND | ND
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | ND | ND | ND | ND
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | 1378504 | 1506713 | 1588717 | 1491311.3333 | 105949.4448 | 7.1044
Test 10 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | 902187 | 942623 | 1168214 | 1004341.3333 | 143350.8133 | 14.2731
TACKDGLDAASYYAPVR |  | TACKDGLDAASYYAPVR (y5) | TACKDGLDAASYYAPVR (y5) | TACKDGLDAASYYAPVR (y5) | TACKDGLDAASYYAPVR | TACKDGLDAASYYAPVR | TACKDGLDAASYYAPVR
Test 1 | Trypsin 1/20, 37°C, 5h | ND | ND | ND | ND
Test 2 | Trypsin 1/100, 37°C, 5h | ND | 8221 | 9556 | 8888.5
Test 3 | Trypsin 1/1000, 37°C, 5h | ND | ND | ND | ND
Test 4 | Trypsin 1/20, 30°C, 5h | ND | ND | ND | ND
Test 5 | Trypsin 1/20, 23°C, 5h | ND | ND | ND | ND
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | ND | ND | ND | ND
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | Contamination | Contamination | Contamination
Test 10 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | ND (alkylated) | ND (alkylated) | ND (alkylated)
GTFIIDPAAVIR |  | GTFIIDPAAVIR (y6) | GTFIIDPAAVIR (y6) | GTFIIDPAAVIR (y6) | GTFIIDPAAVIR | GTFIIDPAAVIR | GTFIIDPAAVIR
Test 1 | Trypsin 1/20, 37°C, 5h | 636719 | 420257 | 432667 | 496547.6667 | 121550.4177 | 24.4791
Test 2 | Trypsin 1/100, 37°C, 5h | 203977 | 149997 | 117286 | 157086.6667 | 43778.1898 | 27.8688
Test 3 | Trypsin 1/1000, 37°C, 5h | 54565 | 56386 | 29107 | 46686 | 15251.0636 | 32.6673
Test 4 | Trypsin 1/20, 30°C, 5h | 31781 | 45362 | 48611 | 41918 | 8927.938 | 21.2986
Test 5 | Trypsin 1/20, 23°C, 5h | 19473 | 39833 | 29757 | 29687.6667 | 10180.1771 | 34.2909
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | 2914 | 3672 | 2810 | 3132 | 470.5359 | 15.0235
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | 5908223 | 6441384 | 6606619 | 6318742 | 364993.2031 | 5.7764
Test 10 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | 4987203 | 6015281 | 6638382 | 5880288.6667 | 833825.6533 | 14.18
NLVQPIVVGTGTK |  | NLVQPIVVGTGTK (y9) | NLVQPIVVGTGTK (y9) | NLVQPIVVGTGTK (y9) | NLVQPIVVGTGTK | NLVQPIVVGTGTK | NLVQPIVVGTGTK
Test 1 | Trypsin 1/20, 37°C, 5h | 3284085 | 2869291 | 2780695 | 2978023.6667 | 268733.0788 | 9.0239
Test 2 | Trypsin 1/100, 37°C, 5h | 182974 | 118043 | 111222 | 137413 | 39604.104 | 28.8212
Test 3 | Trypsin 1/1000, 37°C, 5h | 6314 | 6689 | 4040 | 5681 | 1433.4633 | 25.2326
Test 4 | Trypsin 1/20, 30°C, 5h | 1372683 | 1443810 | 1535847 | 1450780 | 81805.0023 | 5.6387
Test 5 | Trypsin 1/20, 23°C, 5h | 580686 | 811186 | 749670 | 713847.3333 | 119352.4616 | 16.7196
Test 6 | Trypsin 1/20, 37°C, 5h, pH 2.2 | ND | ND | ND
Test 9 | Trypsin/Lys-C 1/20, 37°C, with urea | 4097061 | 4326579 | 4300701 | 4241447 | 125709.6077 | 2.9638
Test 10 | Trypsin 1/20, 37°C, 5h, with reduction/alkylation | 1995406 | 1779187 | 2543046 | 2105879.6667 | 393730.1947 | 18.6967

## DIGESTIF proteolysis in urine
Digestion conditions |  | Transition 1 |  |  |  | Transition 2 |  |  |  | Transition 3
Peptide GTFIIDPGGVIR |  | y8 |  |  |  | y7 |  |  |  | y6
|  | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Mean | STDEV
Test 1 | Trypsin 1/20, 37°C, 5h | 7737 | 6887339 | 0.0011234 | 0.013593 | 9778 | 5467657 | 0.0017883 | 0.021639 | 15149 | 12551390 | 0.001207 | 0.014604 | 0.016612 | 0.0043827
Test 10 | Trypsin 1/20, 37°C, 5h, Reduction/Alkylation | 22472 | 183210 | 0.12266 | 1.4842 | 15153 | 144523 | 0.10485 | 1.2687 | 33358 | 323429 | 0.10314 | 1.248 | 1.3336 | 0.13079
Test 14 | Trypsin 1/20, 37°C, 5h, Reduction/Alkylation, FASP | ND |  |  |  | ND |  |  |  | ND
Test 15 | Trypsin/Lys-C, 37°C, 5h, FASP | 7737 | 6887339 | 0.0011234 | 0.013593 | 9778 | 5467657 | 0.0017883 | 0.021639 | 15149 | 12551388 | 0.001207 | 0.014604 | 0.016612 | 0.0043827
Test 16 | Trypsin/Lys-C, 37°C, 5h, Reduction/Alkylation FASP | 532060 | 5079408 | 0.10475 | 1.2675 | 407101 | 3969388 | 0.10256 | 1.241 | 1007558 | 9773734 | 0.10309 | 1.2474 | 1.2519 | 0.013817
Peptide DGLDAASYYAPVR |  | y7 |  |  |  | y5 |  |  |  | y4
|  | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Mean | STDEV
Test 1 | Trypsin 1/20, 37°C, 5h | ND |  |  |  | ND |  |  |  | ND
Test 10 | Trypsin 1/20, 37°C, 5h, Reduction/Alkylation | 27571 | 736366 | 0.037442 | 0.45305 | 9355 | 298633 | 0.031326 | 0.37905 | 8165 | 189997 | 0.042974 | 0.51999 | 0.45069 | 0.070502
Test 14 | Trypsin 1/20, 37°C, 5h, Reduction/Alkylation, FASP | ND |  |  |  | ND |  |  |  | ND
Test 15 | Trypsin/Lys-C, 37°C, 5h, FASP | ND |  |  |  | ND |  |  |  | ND
Test 16 | Trypsin/Lys-C, 37°C, 5h, Reduction/Alkylation FASP | 171252 | 4116392 | 0.041602 | 0.50339 | 73751 | 1616801 | 0.045615 | 0.55195 | 49777 | 1158420 | 0.04297 | 0.51993 | 0.52509 | 0.024685
Peptide NLVQPIVVGTGTK |  | y9 |  |  |  | y6 |  |  |  | y11
|  | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Mean | STDEV
Test 1 | Trypsin 1/20, 37°C, 5h | ND |  |  |  | ND |  |  |  | ND
Test 10 | Trypsin 1/20, 37°C, 5h, Reduction/Alkylation | 209095 | 4207207 | 0.049699 | 0.60136 | 18711 | 327257 | 0.057175 | 0.69182 | 7867 | 153606 | 0.051215 | 0.61971 | 0.63763 | 0.047819
Test 14 | Trypsin 1/20, 37°C, 5h, Reduction/Alkylation, FASP | ND |  |  |  | ND |  |  |  | ND
Test 15 | Trypsin/Lys-C, 37°C, 5h, FASP | ND |  |  |  | ND |  |  |  | ND
Test 16 | Trypsin/Lys-C, 37°C, 5h, Reduction/Alkylation FASP | 73893 | 2443549 | 0.03024 | 0.3659 | 5789 | 196930 | 0.029396 | 0.35569 | ND |  |  |  | 0.3608

## DIGESTIF proteolysis liver lysa
Digestion conditions |  | Transition 1 |  |  |  | Transition 2 |  |  |  | Transition 3
Peptide GTFIIDPGGVIR |  | y8 |  |  |  | y7 |  |  |  | y6
|  | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Mean | STDEV
Test 1 | Trypsin 1/20, 37°C, 5h | ND |  |  |  | 3604 | 5879012 | 0.00061303 | 0.0074176 | 11909 | 13734930 | 0.00086706 | 0.010491 | 0.0089545 | 0.0021735
Test 9 | Trypsin/Lys-C 1/20, 37°C, 1h30 in 4M urea + 3h30 in 1M urea | 778708 | 4975399 | 0.15651 | 1.8938 | 1196130 | 7318631 | 0.16344 | 1.9776 | 3097187 | 17303416 | 0.17899 | 2.1658 | 2.0124 | 0.13931
Test 10 | Trypsin 1/20, 37°C, 5h after reduction/alkylation | 25968 | 6442413 | 0.0040308 | 0.048773 | 33938 | 8986084 | 0.0037767 | 0.045698 | 69956 | 22575160 | 0.0030988 | 0.037496 | 0.043989 | 0.0058296
Peptide DGLDAASYYAPVR |  | y7 |  |  |  | y5 |  |  |  | y4
|  | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Mean | STDEV
Test 1 | Trypsin 1/20, 37°C, 5h | 5279 | 2287423 | 0.0023078 | 0.027925 | 8530 | 2514784 | 0.0033919 | 0.041042 | 10724 | 1799094 | 0.0059608 | 0.072125 | 0.047031 | 0.022701
Test 9 | Trypsin/Lys-C 1/20, 37°C, 1h30 in 4M urea + 3h30 in 1M urea | 229677 | 2993520 | 0.076725 | 0.92837 | 92110 | 3086193 | 0.029846 | 0.36113 | 106986 | 2153285 | 0.049685 | 0.60119 | 0.63023 | 0.28473
Test 10 | Trypsin 1/20, 37°C, 5h after reduction/alkylation | 293166 | 4423236 | 0.066279 | 0.80197 | 74718 | 4435083 | 0.016847 | 0.20385 | 49703 | 3084043 | 0.016116 | 0.19501 | 0.40028 | 0.34791
Peptide NLVQPIVVGTGTK |  | y9 |  |  |  | y11 |  |  |  | y10
|  | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Peak area (heavy) | Peak area (light) | Ratio (H/L) | Estimated peptide quantity (pmoles) | Mean | STDEV
Test 1 | Trypsin 1/20, 37°C, 5h | 199584 | 5803043 | 0.034393 | 0.41616 | 26224 | 849836 | 0.030858 | 0.37338 | 62789 | 1754284 | 0.035792 | 0.43308 | 0.40754 | 0.03077
Test 9 | Trypsin/Lys-C 1/20, 37°C, 1h30 in 4M urea + 3h30 in 1M urea | 320634 | 2462264 | 0.13022 | 1.5757 | 40082 | 345029 | 0.11617 | 1.4057 | 70265 | 704483 | 0.09974 | 1.2069 | 1.3961 | 0.18459
Test 10 | Trypsin 1/20, 37°C, 5h after reduction/alkylation | 629261 | 5809501 | 0.10832 | 1.3106 | 83761 | 905833 | 0.092468 | 1.1189 | 168297 | 1827018 | 0.092116 | 1.1146 | 1.1814 | 0.11196